## Introduction
Introduction
As part of the licensing document for the River Bend Station nuclear power plant near Baton Rouge, Louisiana, Gulf States Utilities and its engineering design subcontractor, Stone & Webster Engineering Corporation, had to determine the amount of drawdown in nearby wells created by emergency use of the fire-protection well at the power plant. The fire-protection well is completed in the Tertiary Zone 3 aquifer to a depth of 1800 feet (see Figure 3.1.2 in problem setup). It has a 30-foot screen and is capable of producing 900 gallons per minute (gpm). The nearest well to the proposed fire protection well also completed in the Zone 3 aquifer is 7500 feet away on the other side of the Mississippi River and was owned by the Crown-Zellerbach Corporation.
Previously, an aquifer test was performed in the Tertiary Zone 3 aquifer at the site. From analysis of the test data, a transmissivity (T) of 35,200 gallons per day per foot (gpd/ft) and a coefficient of storage (S) of 0.00072 were estimated. For the purpose of the calculations you will be making for this problem, assume that the fire-protection well operated continuously for the entire 40-year design life of the power plant. This obviously is an overly conservative assumption designed to represent a worst-case scenario.
Instructions
1. Using the "Distance-Drawdown" worksheet, convert values of all input parameters to consistent units of length, volume, and time.
2. Program the various parts of the Theis equation into the designated cells under the headings "W(u) terms," "Calculations," and "Answer." This will require you to enter appropriate formulas for "u" using equation 3-2 and then each term of the Theis Well Function, W(u), and to sum these terms to compute the total value of W(u) according to equation 3-3 in the Reference Book. Then compute the drawdown created by the fire-protection well at a distance of 7500 feet after 40 years of continuous pumping at 900 gpm using equation 3-4 for the drawdown term (see Reference Book). In creating the cell formulas to calculate each portion of the Theis equation, refer to the cell addresses that contain the necessary values (e.g., D7 for "Q") instead of typing in the actual value. This will allow you to change parameters and have EXCEL automatically update the W(u), u, and drawdown calculations.
3. Once you have completed this, calculate the drawdown predicted by the Theis equation at each radial distance listed in Table 1 on the "Distance-Drawdown" worksheet. This is completed by changing the value of the radial distance "r" in cell D10. Record each of the computed drawdowns in Table 1.
4. Calculate the drawdown at the same distances used in the previous step but use a time of pumping (t) of 1 year by changing the value of time in cell B11. Record these drawdowns in Table 2.
5. Once the table of drawdowns is completed, the data are plotted automatically on the arithmetic and semi-logarithmic graphs of distance versus drawdown.
6. Answer the questions provided in the "Questions" worksheet.
Reactor building (right), radioactive waste building (front), and primary cooling tower (left) near completion.
Cylindrical reactor building (background) and radioactive waste storage building (foreground) under construction.
THEIS EQUATION FOR DISTANCE VERSUS DRAWDOWN
FIRE PROTECTION WELL, RIVER BEND STATION NUCLEAR POWER PLANT, ST. FRANCISVILLE, LOUISIANA

## Questions
You can answer your questions for this part of the homework here or on a separate word document with your answer to the water budget question (Q1).
Part 2: Groundwater withdrawal
Question #1. Examine the two distance versus drawdown plots that were generated from your
calculations using the Theis equation. Compare the number of data points necessary to define
the shape of the cone of depression on the two plots. Which one type of plot takes fewer points,
the distance versus drawdown on the arithmetic axes or on the semi-logarithmic axes? Is there
an advantage creating one of these plots compared to the other type of plot?
Question #2. Describe how the shape of the cone of depression changed between 1 year of
pumping and 40 years of pumping.
Question #3. How much deeper is the cone of depression after 40 years of pumping the
fire-protection well compared to 1 year of pumping? Is the change uniform across the
radial extent of the cone of depression?
Question #4. After review of the calculations for the fire-protection well previously
described, the Nuclear Regulatory Commission mandated that there must be 2.6
million gallons of water a day (mgd) available for emergency fire fighting. How
will this change the demands on the fire-protection well and what would be the
drawdown created after 40 years (worst case scenario) at the Crown-Zellerbach well?
THEIS EQUATION FOR DISTANCE VERSUS DRAWDOWN
FIRE PROTECTION WELL, RIVER BEND STATION NUCLEAR POWER PLANT, ST. FRANCISVILLE, LOUISIANA

## Distance-Drawdown
Input Parameters | [7 empty] | Calculations
Q = |  | gpm = |  | ft3/day |  |  |  | u =
T = |  | gpd/ft = |  | ft2/day |  |  |  | W(u)=
S = |  |  |  | ft3/ft3
r = |  |  |  | feet |  |  |  | Answer
t = |  | years = |  | days |  |  |  | s = |  | feet
W(u) | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th
terms
COMPUTED VALUES OF r versus s FOR SPECIFIED TIMES
|  |  | Table 1 |  |  |  | Table 2
|  | 40 years | r | s |  | 1 year | r | s
|  | (days) | (feet) | (feet) |  | (days) | (feet) | (feet)
|  | 14600 | 7500 |  |  | 365 | 7500
|  | 14600 | 5000 |  |  | 365 | 5000
|  | 14600 | 2000 |  |  | 365 | 2000
|  | 14600 | 1000 |  |  | 365 | 1000
|  | 14600 | 500 |  |  | 365 | 500
|  | 14600 | 200 |  |  | 365 | 200
|  | 14600 | 100 |  |  | 365 | 100
|  | 14600 | 80 |  |  | 365 | 80
|  | 14600 | 50 |  |  | 365 | 50
|  | 14600 | 10 |  |  | 365 | 10
|  | 14600 | 2 |  |  | 365 | 2
1 year
40 years
Although the value of s is calculated to three significant digits, it should be reported to two significant digits because the value of S has only two significant digits.
1 year
40 years
THEIS EQUATION FOR DISTANCE VERSUS DRAWDOWN
FIRE PROTECTION WELL, RIVER BEND STATION NUCLEAR POWER PLANT, ST. FRANCISVILLE, LOUISIANA